Howard University Laboratory Biosafety Level 1 Checklist

Biosafety Level 1 laboratory is suitable for work that involves well-characterized agents not known to cause diseases in immunocompromised adult humans.  The checklist is based on Biosafety in Microbiological and Biomedical Laboratories, 5th edition, 2007 and NIH Guidelines for Research Involving Recombinant DNA Molecules (NIH Guidelines), Appendix G, September 2009.   Check each statement that are complied and make explanation and comment that are unchecked.  This list can be used for self-assessment and is a part of review completed by the Institutional Biosafety Committee.

| P.I. Name |  | Department |  |
| --- | --- | --- | --- |
| Phone |  | Email Address |  |
| Lab Location |  |  |  |
| Phone |  |  |  |
| Biological Agents Used/Stored |  |  |  |

| Biosafety Level 1 |  |
| --- | --- |
| Section 1. Standard Microbiological Practices |  |
|  | - 1. Access to the laboratory is limited or restricted at the discretion of the P.I. when experiments are in progress. |
|  | - 2. Work surfaces are decontaminated once a day after any spill of viable agents. |
|  | - 3. All contaminated liquid or solid wastes are placed in biohazardous bags, autoclaved or decontaminated with suitable disinfectant before disposal. |
|  | - 4. Contaminated materials that are to be decontaminated are placed in a durable leak-proof container which is closed before being removed from the laboratory. |
|  | - 5. No mouth pipetting is permitted; mechanical pipetting devices are used. |
|  | - 6. No eating, drinking, smoking, handling contact lenses, and applying cosmetics are permitted in the work area. Food may be stored outside the laboratory in cabinets/refrigerators designated and used for this purpose only. |
|  | - 7. Wash hands after handling potentially hazardous materials and before leaving the laboratory. |
|  | - 8. All procedures are carefully performed to minimize splashes and creation of aerosols. |
|  | 9. Policies for safe use of needles, sharps and broken glassware are established and implemented. |
|  | 10. A sign incorporating the universal biohazard symbol are posted at the entrance to the laboratory if infectious agents are present. Posted information must include the name and telephone number of supervisor. |
| - Section 2. Special Practices: None |  |
| - Section 3. Personal Protective Equipment (Primary Barrier) |  |
|  | 1. Protective clothing is recommended while in the laboratory. |
|  | - 2. Wear gloves when skin contact is unavoidable with agents. Gloves should not be worn outside the laboratory. |
|  | 3. Eye and face protection (goggles, mask, face shield or other splatter guard) is used for anticipated splashes or sprays of agents. |
| Section 4. Laboratory Facilities (Secondary Barrier) |  |
|  | - 1. The laboratory is designed so that it can be easily cleaned; no carpet or rugs. |
|  | - 2. Spaces between benches, cabinets and equipment are accessible for cleaning. |
|  | - 3. No fabric upholstered/covered furniture or chairs are permitted. |
|  | - 4. Bench tops are impervious to water and resistant to acids, chemicals, organic solvents, and moderate heat. |
|  | - 5. Laboratory furniture is sturdy and capable of supporting anticipated loads. |
|  | 6. Washing sink and eye wash station are readily available and accessible. |
|  | - 7. Laboratory windows that open to outside are fitted with fly screens. |
|  | - 8. Insect and rodent control programs are in effect. |

Please provide explanation or comment if the statement is unchecked.

____________________________________________________________________________________________

____________________________________________________________________________________________

____________________________________________________________________________________________

____________________________________________________________________________________________

____________________________________________________________________________________________

____________________________________________________________________________________________

____________________________________________________________________________________________

____________________________________________________________________________________________

____________________________________________________________________________________________

____________________________________________________________________________________________